## Intensity Response
Measurements were taken from each port of MicrobeMeter while decreasing the light intensity of the LED from its maximum to minimum (i.e., no light) in 256 steps using Arduino's built-in pulse-width modulation (31372.55 Hz) feature.
MicrobeMeter v1.0
LED Intensity Ramp-Down
Time | Temperature | Port_1 | Port_2 | Port_3 | Port_4
Thu Jul 27 15:55:05 2017 | 25.17 | 803 | 625 | 740 | 707
Thu Jul 27 15:55:11 2017 | 25.17 | 799 | 621 | 736 | 704
Thu Jul 27 15:55:17 2017 | 25.17 | 796 | 619 | 733 | 701
Thu Jul 27 15:55:23 2017 | 25.17 | 793 | 617 | 730 | 698
Thu Jul 27 15:55:29 2017 | 25.17 | 790 | 614 | 727 | 695
Thu Jul 27 15:55:35 2017 | 25.17 | 786 | 612 | 724 | 692
Thu Jul 27 15:55:41 2017 | 25.17 | 783 | 609 | 721 | 690
Thu Jul 27 15:55:47 2017 | 25.17 | 780 | 607 | 718 | 687
Thu Jul 27 15:55:53 2017 | 25.17 | 777 | 604 | 716 | 684
Thu Jul 27 15:55:59 2017 | 25.17 | 774 | 602 | 713 | 681
Thu Jul 27 15:56:05 2017 | 25.17 | 771 | 599 | 710 | 679
Thu Jul 27 15:56:11 2017 | 25.17 | 767 | 597 | 707 | 676
Thu Jul 27 15:56:17 2017 | 25.17 | 764 | 594 | 704 | 673
Thu Jul 27 15:56:23 2017 | 25.17 | 761 | 592 | 701 | 670
Thu Jul 27 15:56:29 2017 | 25.17 | 758 | 590 | 698 | 667
Thu Jul 27 15:56:35 2017 | 25.17 | 755 | 587 | 695 | 665
Thu Jul 27 15:56:41 2017 | 25.17 | 752 | 585 | 692 | 662
Thu Jul 27 15:56:47 2017 | 25.17 | 749 | 582 | 690 | 659
Thu Jul 27 15:56:53 2017 | 25.17 | 745 | 580 | 687 | 656
Thu Jul 27 15:56:59 2017 | 25.17 | 742 | 577 | 684 | 654
Thu Jul 27 15:57:05 2017 | 25.17 | 739 | 575 | 681 | 651
Thu Jul 27 15:57:11 2017 | 25.17 | 736 | 572 | 678 | 648
Thu Jul 27 15:57:17 2017 | 25.17 | 733 | 570 | 675 | 645
Thu Jul 27 15:57:23 2017 | 25.17 | 730 | 567 | 672 | 643
Thu Jul 27 15:57:29 2017 | 25.17 | 726 | 565 | 669 | 640
Thu Jul 27 15:57:35 2017 | 25.17 | 723 | 563 | 666 | 637
Thu Jul 27 15:57:41 2017 | 25.17 | 720 | 560 | 664 | 634
Thu Jul 27 15:57:47 2017 | 25.17 | 717 | 558 | 661 | 632
Thu Jul 27 15:57:53 2017 | 25.17 | 714 | 555 | 658 | 629
Thu Jul 27 15:57:59 2017 | 25.17 | 711 | 553 | 655 | 626
Thu Jul 27 15:58:05 2017 | 25.17 | 708 | 550 | 652 | 623
Thu Jul 27 15:58:11 2017 | 25.17 | 704 | 548 | 649 | 620
Thu Jul 27 15:58:17 2017 | 25.17 | 701 | 546 | 646 | 618
Thu Jul 27 15:58:23 2017 | 25.59 | 698 | 543 | 643 | 615
Thu Jul 27 15:58:29 2017 | 25.59 | 695 | 541 | 640 | 612
Thu Jul 27 15:58:35 2017 | 25.59 | 692 | 538 | 637 | 609
Thu Jul 27 15:58:41 2017 | 25.17 | 689 | 536 | 635 | 607
Thu Jul 27 15:58:47 2017 | 25.59 | 686 | 533 | 632 | 604
Thu Jul 27 15:58:53 2017 | 25.59 | 682 | 531 | 629 | 601
Thu Jul 27 15:58:59 2017 | 25.59 | 679 | 529 | 626 | 598
Thu Jul 27 15:59:05 2017 | 25.59 | 676 | 526 | 623 | 596
Thu Jul 27 15:59:11 2017 | 25.59 | 673 | 524 | 620 | 593
Thu Jul 27 15:59:17 2017 | 25.59 | 670 | 521 | 617 | 590
Thu Jul 27 15:59:23 2017 | 25.59 | 667 | 519 | 614 | 587
Thu Jul 27 15:59:29 2017 | 25.59 | 664 | 516 | 611 | 585
Thu Jul 27 15:59:35 2017 | 25.59 | 661 | 514 | 609 | 582
Thu Jul 27 15:59:41 2017 | 25.59 | 657 | 511 | 606 | 579
Thu Jul 27 15:59:47 2017 | 25.59 | 654 | 509 | 603 | 576
Thu Jul 27 15:59:53 2017 | 25.59 | 651 | 506 | 600 | 573
Thu Jul 27 15:59:59 2017 | 25.59 | 648 | 504 | 597 | 571
Thu Jul 27 16:00:05 2017 | 25.59 | 645 | 502 | 594 | 568
Thu Jul 27 16:00:11 2017 | 25.59 | 642 | 499 | 591 | 565
Thu Jul 27 16:00:17 2017 | 25.59 | 638 | 497 | 588 | 562
Thu Jul 27 16:00:23 2017 | 25.59 | 635 | 494 | 585 | 560
Thu Jul 27 16:00:29 2017 | 25.59 | 632 | 492 | 582 | 557
Thu Jul 27 16:00:35 2017 | 25.59 | 629 | 489 | 579 | 554
Thu Jul 27 16:00:41 2017 | 25.59 | 626 | 487 | 576 | 551
Thu Jul 27 16:00:47 2017 | 25.59 | 623 | 484 | 574 | 549
Thu Jul 27 16:00:53 2017 | 25.59 | 620 | 482 | 571 | 546
Thu Jul 27 16:00:59 2017 | 25.59 | 616 | 480 | 568 | 543
Thu Jul 27 16:01:05 2017 | 25.59 | 613 | 477 | 565 | 540
Thu Jul 27 16:01:11 2017 | 25.59 | 610 | 475 | 562 | 537
Thu Jul 27 16:01:17 2017 | 25.59 | 607 | 472 | 559 | 535
Thu Jul 27 16:01:23 2017 | 25.59 | 604 | 470 | 556 | 532
Thu Jul 27 16:01:29 2017 | 25.59 | 601 | 467 | 554 | 529
Thu Jul 27 16:01:35 2017 | 25.59 | 598 | 465 | 551 | 526
Thu Jul 27 16:01:41 2017 | 25.59 | 595 | 463 | 548 | 524
Thu Jul 27 16:01:47 2017 | 25.59 | 591 | 460 | 545 | 521
Thu Jul 27 16:01:53 2017 | 25.59 | 588 | 458 | 542 | 518
Thu Jul 27 16:01:59 2017 | 25.59 | 585 | 455 | 539 | 515
Thu Jul 27 16:02:05 2017 | 25.59 | 582 | 453 | 536 | 513
Thu Jul 27 16:02:11 2017 | 25.59 | 579 | 450 | 533 | 510
Thu Jul 27 16:02:17 2017 | 25.59 | 576 | 448 | 530 | 507
Thu Jul 27 16:02:23 2017 | 25.59 | 572 | 445 | 527 | 504
Thu Jul 27 16:02:29 2017 | 25.59 | 570 | 443 | 524 | 501
Thu Jul 27 16:02:35 2017 | 25.59 | 566 | 440 | 522 | 498
Thu Jul 27 16:02:42 2017 | 25.59 | 563 | 438 | 519 | 496
Thu Jul 27 16:02:48 2017 | 25.59 | 560 | 435 | 516 | 493
Thu Jul 27 16:02:54 2017 | 25.59 | 557 | 433 | 513 | 490
Thu Jul 27 16:03:00 2017 | 25.59 | 554 | 430 | 510 | 488
Thu Jul 27 16:03:06 2017 | 25.59 | 551 | 428 | 507 | 485
Thu Jul 27 16:03:12 2017 | 25.59 | 547 | 425 | 504 | 482
Thu Jul 27 16:03:18 2017 | 25.59 | 544 | 423 | 501 | 479
Thu Jul 27 16:03:24 2017 | 25.59 | 541 | 420 | 498 | 476
Thu Jul 27 16:03:30 2017 | 25.59 | 538 | 418 | 495 | 474
Thu Jul 27 16:03:36 2017 | 25.59 | 535 | 416 | 492 | 471
Thu Jul 27 16:03:42 2017 | 25.59 | 532 | 413 | 490 | 468
Thu Jul 27 16:03:48 2017 | 25.59 | 529 | 411 | 487 | 465
Thu Jul 27 16:03:54 2017 | 25.59 | 525 | 408 | 484 | 463
Thu Jul 27 16:04:00 2017 | 25.59 | 522 | 406 | 481 | 460
Thu Jul 27 16:04:06 2017 | 25.59 | 519 | 404 | 478 | 457
Thu Jul 27 16:04:12 2017 | 25.59 | 516 | 401 | 475 | 454
Thu Jul 27 16:04:18 2017 | 25.59 | 513 | 399 | 472 | 451
Thu Jul 27 16:04:24 2017 | 25.59 | 510 | 396 | 469 | 449
Thu Jul 27 16:04:30 2017 | 25.59 | 506 | 394 | 466 | 446
Thu Jul 27 16:04:36 2017 | 25.59 | 503 | 391 | 463 | 443
Thu Jul 27 16:04:42 2017 | 25.59 | 500 | 389 | 461 | 440
Thu Jul 27 16:04:48 2017 | 25.59 | 497 | 386 | 458 | 437
Thu Jul 27 16:04:54 2017 | 25.59 | 494 | 384 | 455 | 435
Thu Jul 27 16:05:00 2017 | 25.59 | 491 | 381 | 452 | 432
Thu Jul 27 16:05:06 2017 | 25.59 | 488 | 379 | 449 | 429
Thu Jul 27 16:05:12 2017 | 25.59 | 484 | 376 | 446 | 426
Thu Jul 27 16:05:18 2017 | 25.59 | 481 | 374 | 443 | 424
Thu Jul 27 16:05:24 2017 | 25.59 | 478 | 371 | 440 | 421
Thu Jul 27 16:05:30 2017 | 25.59 | 475 | 369 | 437 | 418
Thu Jul 27 16:05:36 2017 | 25.59 | 472 | 367 | 434 | 415
Thu Jul 27 16:05:42 2017 | 25.59 | 469 | 364 | 431 | 413
Thu Jul 27 16:05:48 2017 | 25.59 | 466 | 362 | 428 | 410
Thu Jul 27 16:05:54 2017 | 25.59 | 462 | 359 | 425 | 407
Thu Jul 27 16:06:00 2017 | 26.01 | 459 | 357 | 423 | 404
Thu Jul 27 16:06:06 2017 | 25.59 | 456 | 354 | 420 | 401
Thu Jul 27 16:06:12 2017 | 25.59 | 453 | 352 | 417 | 399
Thu Jul 27 16:06:18 2017 | 26.01 | 450 | 349 | 414 | 396
Thu Jul 27 16:06:24 2017 | 25.59 | 446 | 347 | 411 | 393
Thu Jul 27 16:06:30 2017 | 26.01 | 443 | 345 | 408 | 390
Thu Jul 27 16:06:36 2017 | 26.01 | 440 | 342 | 405 | 388
Thu Jul 27 16:06:42 2017 | 26.01 | 437 | 340 | 402 | 385
Thu Jul 27 16:06:48 2017 | 26.01 | 434 | 337 | 399 | 382
Thu Jul 27 16:06:54 2017 | 26.01 | 431 | 335 | 396 | 379
Thu Jul 27 16:07:00 2017 | 26.01 | 427 | 332 | 394 | 376
Thu Jul 27 16:07:06 2017 | 26.01 | 424 | 330 | 391 | 373
Thu Jul 27 16:07:12 2017 | 25.59 | 421 | 327 | 388 | 371
Thu Jul 27 16:07:18 2017 | 26.01 | 418 | 325 | 385 | 368
Thu Jul 27 16:07:24 2017 | 26.01 | 415 | 323 | 382 | 365
Thu Jul 27 16:07:30 2017 | 26.01 | 412 | 320 | 379 | 362
Thu Jul 27 16:07:36 2017 | 26.01 | 409 | 318 | 376 | 360
Thu Jul 27 16:07:42 2017 | 26.01 | 405 | 315 | 373 | 357
Thu Jul 27 16:07:48 2017 | 26.01 | 402 | 313 | 370 | 354
Thu Jul 27 16:07:54 2017 | 26.01 | 399 | 310 | 367 | 351
Thu Jul 27 16:08:00 2017 | 26.01 | 396 | 308 | 364 | 348
Thu Jul 27 16:08:06 2017 | 26.01 | 393 | 305 | 362 | 346
Thu Jul 27 16:08:12 2017 | 26.01 | 390 | 303 | 359 | 343
Thu Jul 27 16:08:18 2017 | 26.01 | 386 | 300 | 356 | 340
Thu Jul 27 16:08:24 2017 | 26.01 | 383 | 298 | 353 | 337
Thu Jul 27 16:08:30 2017 | 26.01 | 380 | 295 | 350 | 335
Thu Jul 27 16:08:36 2017 | 26.01 | 377 | 293 | 347 | 332
Thu Jul 27 16:08:42 2017 | 26.01 | 374 | 290 | 344 | 329
Thu Jul 27 16:08:48 2017 | 26.01 | 371 | 288 | 341 | 326
Thu Jul 27 16:08:54 2017 | 26.01 | 367 | 285 | 338 | 324
Thu Jul 27 16:09:00 2017 | 26.01 | 364 | 283 | 335 | 321
Thu Jul 27 16:09:06 2017 | 26.01 | 361 | 281 | 332 | 318
Thu Jul 27 16:09:12 2017 | 26.01 | 358 | 278 | 330 | 315
Thu Jul 27 16:09:18 2017 | 26.01 | 355 | 276 | 327 | 312
Thu Jul 27 16:09:24 2017 | 26.01 | 352 | 273 | 324 | 310
Thu Jul 27 16:09:30 2017 | 26.01 | 349 | 271 | 321 | 307
Thu Jul 27 16:09:36 2017 | 26.01 | 345 | 268 | 318 | 304
Thu Jul 27 16:09:42 2017 | 26.01 | 342 | 266 | 315 | 301
Thu Jul 27 16:09:48 2017 | 26.01 | 339 | 263 | 312 | 298
Thu Jul 27 16:09:54 2017 | 26.01 | 336 | 261 | 309 | 295
Thu Jul 27 16:10:00 2017 | 26.01 | 333 | 258 | 306 | 293
Thu Jul 27 16:10:06 2017 | 26.01 | 330 | 256 | 303 | 290
Thu Jul 27 16:10:12 2017 | 26.01 | 327 | 254 | 300 | 287
Thu Jul 27 16:10:18 2017 | 26.01 | 323 | 251 | 298 | 284
Thu Jul 27 16:10:24 2017 | 26.01 | 320 | 249 | 295 | 282
Thu Jul 27 16:10:30 2017 | 26.01 | 317 | 246 | 292 | 279
Thu Jul 27 16:10:36 2017 | 26.01 | 314 | 244 | 289 | 276
Thu Jul 27 16:10:42 2017 | 26.01 | 311 | 241 | 286 | 273
Thu Jul 27 16:10:48 2017 | 26.01 | 307 | 239 | 283 | 271
Thu Jul 27 16:10:54 2017 | 26.01 | 304 | 236 | 280 | 268
Thu Jul 27 16:11:00 2017 | 26.01 | 301 | 234 | 277 | 265
Thu Jul 27 16:11:06 2017 | 26.01 | 298 | 231 | 274 | 262
Thu Jul 27 16:11:12 2017 | 26.01 | 295 | 229 | 271 | 259
Thu Jul 27 16:11:18 2017 | 26.01 | 292 | 226 | 268 | 257
Thu Jul 27 16:11:24 2017 | 26.01 | 288 | 224 | 265 | 254
Thu Jul 27 16:11:30 2017 | 26.01 | 285 | 221 | 263 | 251
Thu Jul 27 16:11:36 2017 | 26.01 | 282 | 219 | 260 | 248
Thu Jul 27 16:11:42 2017 | 26.01 | 279 | 216 | 257 | 245
Thu Jul 27 16:11:48 2017 | 26.01 | 276 | 214 | 254 | 243
Thu Jul 27 16:11:54 2017 | 26.01 | 273 | 212 | 251 | 240
Thu Jul 27 16:12:00 2017 | 26.01 | 270 | 209 | 248 | 237
Thu Jul 27 16:12:06 2017 | 26.01 | 266 | 207 | 245 | 234
Thu Jul 27 16:12:12 2017 | 26.01 | 263 | 204 | 242 | 232
Thu Jul 27 16:12:18 2017 | 26.01 | 260 | 202 | 239 | 229
Thu Jul 27 16:12:24 2017 | 26.01 | 257 | 199 | 236 | 226
Thu Jul 27 16:12:30 2017 | 26.01 | 254 | 197 | 233 | 223
Thu Jul 27 16:12:36 2017 | 26.01 | 250 | 194 | 231 | 220
Thu Jul 27 16:12:42 2017 | 26.01 | 247 | 192 | 228 | 217
Thu Jul 27 16:12:48 2017 | 26.01 | 244 | 189 | 225 | 215
Thu Jul 27 16:12:54 2017 | 26.01 | 241 | 187 | 222 | 212
Thu Jul 27 16:13:00 2017 | 26.01 | 238 | 184 | 219 | 209
Thu Jul 27 16:13:06 2017 | 26.01 | 235 | 182 | 216 | 206
Thu Jul 27 16:13:12 2017 | 26.01 | 231 | 180 | 213 | 204
Thu Jul 27 16:13:18 2017 | 26.01 | 228 | 177 | 210 | 201
Thu Jul 27 16:13:24 2017 | 26.01 | 225 | 175 | 207 | 198
Thu Jul 27 16:13:30 2017 | 26.01 | 222 | 172 | 204 | 195
Thu Jul 27 16:13:36 2017 | 26.01 | 219 | 170 | 201 | 192
Thu Jul 27 16:13:42 2017 | 26.01 | 215 | 167 | 198 | 190
Thu Jul 27 16:13:48 2017 | 26.01 | 212 | 165 | 196 | 187
Thu Jul 27 16:13:54 2017 | 26.01 | 209 | 162 | 193 | 184
Thu Jul 27 16:14:00 2017 | 26.01 | 206 | 160 | 190 | 181
Thu Jul 27 16:14:06 2017 | 26.01 | 203 | 157 | 187 | 178
Thu Jul 27 16:14:12 2017 | 26.01 | 200 | 155 | 184 | 176
Thu Jul 27 16:14:18 2017 | 26.01 | 197 | 152 | 181 | 173
Thu Jul 27 16:14:24 2017 | 26.01 | 193 | 150 | 178 | 170
Thu Jul 27 16:14:30 2017 | 26.01 | 190 | 148 | 175 | 167
Thu Jul 27 16:14:36 2017 | 26.01 | 187 | 145 | 172 | 164
Thu Jul 27 16:14:42 2017 | 26.01 | 184 | 143 | 169 | 161
Thu Jul 27 16:14:48 2017 | 26.01 | 181 | 140 | 166 | 159
Thu Jul 27 16:14:54 2017 | 26.01 | 177 | 138 | 163 | 156
Thu Jul 27 16:15:00 2017 | 26.01 | 174 | 135 | 160 | 153
Thu Jul 27 16:15:06 2017 | 26.01 | 171 | 133 | 157 | 150
Thu Jul 27 16:15:12 2017 | 26.01 | 168 | 130 | 154 | 148
Thu Jul 27 16:15:18 2017 | 26.01 | 165 | 128 | 152 | 145
Thu Jul 27 16:15:24 2017 | 26.01 | 162 | 125 | 149 | 142
Thu Jul 27 16:15:30 2017 | 26.01 | 158 | 123 | 146 | 139
Thu Jul 27 16:15:36 2017 | 26.01 | 155 | 120 | 143 | 137
Thu Jul 27 16:15:42 2017 | 26.01 | 152 | 118 | 140 | 134
Thu Jul 27 16:15:48 2017 | 26.01 | 149 | 116 | 137 | 131
Thu Jul 27 16:15:54 2017 | 26.01 | 146 | 113 | 134 | 128
Thu Jul 27 16:16:00 2017 | 26.01 | 143 | 111 | 131 | 125
Thu Jul 27 16:16:06 2017 | 26.01 | 140 | 108 | 128 | 123
Thu Jul 27 16:16:12 2017 | 26.01 | 136 | 106 | 125 | 120
Thu Jul 27 16:16:18 2017 | 26.01 | 133 | 103 | 122 | 117
Thu Jul 27 16:16:24 2017 | 26.01 | 130 | 101 | 120 | 114
Thu Jul 27 16:16:30 2017 | 26.01 | 127 | 98 | 117 | 111
Thu Jul 27 16:16:36 2017 | 26.01 | 124 | 96 | 114 | 109
Thu Jul 27 16:16:42 2017 | 26.01 | 120 | 93 | 111 | 106
Thu Jul 27 16:16:48 2017 | 26.01 | 117 | 91 | 108 | 103
Thu Jul 27 16:16:54 2017 | 26.01 | 114 | 88 | 105 | 100
Thu Jul 27 16:17:00 2017 | 26.01 | 111 | 86 | 102 | 97
Thu Jul 27 16:17:06 2017 | 26.01 | 108 | 83 | 99 | 94
Thu Jul 27 16:17:12 2017 | 26.01 | 105 | 81 | 96 | 92
Thu Jul 27 16:17:18 2017 | 26.01 | 102 | 79 | 93 | 89
Thu Jul 27 16:17:24 2017 | 26.01 | 98 | 76 | 90 | 86
Thu Jul 27 16:17:30 2017 | 26.01 | 95 | 73 | 87 | 83
Thu Jul 27 16:17:36 2017 | 26.01 | 92 | 71 | 84 | 81
Thu Jul 27 16:17:42 2017 | 26.01 | 89 | 69 | 81 | 78
Thu Jul 27 16:17:48 2017 | 26.01 | 85 | 66 | 79 | 75
Thu Jul 27 16:17:55 2017 | 26.01 | 82 | 63 | 76 | 72
Thu Jul 27 16:18:01 2017 | 26.01 | 79 | 61 | 73 | 69
Thu Jul 27 16:18:07 2017 | 26.01 | 76 | 59 | 70 | 67
Thu Jul 27 16:18:13 2017 | 26.01 | 73 | 56 | 67 | 64
Thu Jul 27 16:18:19 2017 | 26.01 | 70 | 54 | 64 | 61
Thu Jul 27 16:18:25 2017 | 26.01 | 67 | 51 | 61 | 58
Thu Jul 27 16:18:31 2017 | 26.01 | 63 | 49 | 58 | 55
Thu Jul 27 16:18:37 2017 | 26.01 | 60 | 46 | 55 | 53
Thu Jul 27 16:18:43 2017 | 26.01 | 57 | 44 | 52 | 50
Thu Jul 27 16:18:49 2017 | 26.01 | 54 | 41 | 49 | 47
Thu Jul 27 16:18:55 2017 | 26.01 | 51 | 39 | 46 | 44
Thu Jul 27 16:19:01 2017 | 26.01 | 47 | 36 | 44 | 41
Thu Jul 27 16:19:07 2017 | 26.01 | 44 | 34 | 41 | 39
Thu Jul 27 16:19:13 2017 | 26.01 | 41 | 31 | 38 | 36
Thu Jul 27 16:19:19 2017 | 26.01 | 38 | 29 | 35 | 33
Thu Jul 27 16:19:25 2017 | 26.01 | 35 | 27 | 32 | 30
Thu Jul 27 16:19:31 2017 | 26.01 | 32 | 24 | 29 | 27
Thu Jul 27 16:19:37 2017 | 26.01 | 29 | 22 | 26 | 25
Thu Jul 27 16:19:43 2017 | 26.01 | 25 | 19 | 23 | 22
Thu Jul 27 16:19:49 2017 | 26.01 | 22 | 17 | 20 | 19
Thu Jul 27 16:19:55 2017 | 26.01 | 19 | 14 | 17 | 16
Thu Jul 27 16:20:01 2017 | 26.01 | 16 | 12 | 14 | 14
Thu Jul 27 16:20:07 2017 | 26.01 | 12 | 9 | 11 | 11
Thu Jul 27 16:20:13 2017 | 26.01 | 9 | 7 | 8 | 8
Thu Jul 27 16:20:19 2017 | 26.01 | 6 | 5 | 6 | 5
Thu Jul 27 16:20:25 2017 | 26.01 | 3 | 3 | 3 | 3
Thu Jul 27 16:20:31 2017 | 26.01 | 1 | 1 | 1 | 1
Thu Jul 27 16:20:37 2017 | 26.01 | 0 | 0 | 0 | 0